## Slide 1: Chapter 10: Analysis of Unbalanced Faults

## Slide 2: Fault current calculations
Prior to the fault:
  Currents stay in the intact network
During the fault:
  Currents flow from the network into the ground or into another phase of the network
To calculate these currents, we need a model of the network as seen from the fault
Location of fault
Network

## Slide 3: Balanced fault current calculations
A balanced three-phase fault affects all three phases equally
It does not break the three-phase symmetry of the system
The fault can be analyzed using a single-phase Thevenin equivalent
Balanced fault
Network
Balanced fault

## Slide 4: Unbalanced fault current calculations
Unbalanced faults do not affect all three phases equally
They break the three-phase symmetry of the system
Unbalanced faults can not be analyzed using a single-phase model
Analyzing unbalanced faults in three-phase variables provides little physical insight
Unbalanced fault
Network
Network model?
Unbalanced fault

## Slide 5: Symmetrical components
Transform variables from three-phase to symmetrical components
Decouples three-phase network model into three decoupled models
Each model represents a symmetrical component
Using these models simplifies analysis of unbalanced faults
Unbalanced fault
Network
Positive
Unbalanced fault
Negative
Zero
Models in symmetrical
components

## Slide 6: notation
Multiplying a phasor by rotates it by 120°
Multiplying a phasor by rotates it by 240°
Multiplying a phasor by leaves it unchanged

## Slide 7: Concept of symmetrical components
Any unbalanced three-phase voltage or current can be decomposed into the sum of three balanced three-phase voltages or currents called sequence components:
  A zero-sequence component where all three voltages or currents have the same phase
  A positive-sequence component where the three voltages or currents are 120° out of phase with each other in the positive phase sequence (e.g., a-b-c)
  A negative-sequence component where the three voltages or currents are 120° out of phase with each other but in the opposite phase sequence (e.g., a-c-b)

## Slide 8: Sequence components
Zero-sequence
Positive-sequence
Negative-sequence
Subscript 0
Subscript 1
Subscript 2

## Slide 9: Concept of symmetrical components
Zero-sequence
component
Positive-sequence
component
Negative-sequence
component
=
+
+
Unbalanced voltages

## Slide 10: Concept of symmetrical components
=
+
+

## Slide 11: Concept of symmetrical components
Each component is balanced
Can represent each component by a single phasor
Zero sequence:
Positive sequence:
Negative sequence:
This applies to currents as well as voltages

## Slide 12: Zero sequence

## Slide 13: Positive sequence

## Slide 14: Negative sequence

## Slide 15: Phase a as a function of symmetrical components
=
+
+

## Slide 16: Phase b as a function of symmetrical components
=
+
+

## Slide 17: Phase c as a function of symmetrical components
=
+
+

## Slide 18: Phase variables from symmetrical components
=
+
+

## Slide 19: Phase variables from symmetrical components
Phase
variables
Symmetrical
components

## Slide 20: Symmetrical components from phase variables
Phase
variables
Symmetrical
components

## Slide 21: Currents in symmetrical components
Transformation from phase quantities to symmetrical components applies to voltages as well as currents

## Slide 22: Example 10.1
Calculate the sequence components of the following set of balanced voltages:

## Slide 23: Example 10.2
Calculate the sequence components of the following set of balanced currents:

## Slide 24: Example 10.3
Calculate the sequence components of the following set of unbalanced voltages:

## Slide 25: Example 10.4
Calculate the phase voltages from the following sequence components:

## Slide 26: Relation between the neutral and zero sequence currents
A zero-sequence current can occur only if the neutral current is not zero i.e., when the neutral is grounded
n
a
c
b

## Slide 27: Example 10.5: Zero-sequence and neutral currents
Given , calculate the zero-sequence and neutral currents.

## Slide 28: Sequence networks
In a three-phase network, if the voltages or currents are not balanced, what happens in one phase affects what happens in the other phases
This coupling makes analysis complex
Using symmetrical components, we can replace three-phase networks by decoupled sequence networks

## Slide 29: Sequence networks representation of a load
Write KVL around the loop a-n-g
Similarly, around the loops b-n-g and c-n-g:

## Slide 30: Sequence networks representation of a load
Full matrix  coupling between the three phases if the currents are imbalanced
What happens if we convert to symmetrical components?

## Slide 31: Sequence networks representation of a load

## Slide 32: Sequence networks representation of a load

## Slide 33: Sequence networks representation of a load

## Slide 34: Sequence networks representation of a load
Converting to symmetrical components decouples the equations
Positive sequence currents  positive sequence voltages
Negative sequence currents  negative sequence voltages
Zero sequence currents  zero sequence voltages

## Slide 35: Sequence networks representation of a load

## Slide 36: Sequence networks representation of a load
does not appear in or
Because

## Slide 37: Ungrounded Y connection
Ungrounded Y connection
No zero-sequence current

## Slide 38: Balanced set of voltages in positive phase sequence
Positive-sequence network is equivalent to the single-phase representation of a balanced three-phase system

## Slide 39: Unbalanced loads
If the load is not balanced, the sequence networks are not decoupled!

## Slide 40: Example 10.6: Applying imbalanced voltages to a Y-connected load
Each branch of a Y-connected load has an impedance of . The neutral point of this load is connected to ground through an impedance of . The following set of unbalanced line-to-neutral voltages is applied to this load:
Calculate the current in each phase and in the neutral connection.
From Example 10.3:

## Slide 41: Example 10.7: Applying imbalanced voltages to a delta-connected load
Repeat the calculations of Example 10.5 assuming that the branch impedances are connected in delta.
Replace the delta-connected load by its Y-connected equivalent.
and because there is no neutral connection in a delta-connected load.

## Slide 42: Sequence networks representation of generators
a
b
c
n

## Slide 43: Sequence networks representation of generators

## Slide 44: Sequence networks representation of generators

## Slide 45: Sequence networks representation of generators
Because the internal e.m.f. are a balanced set of voltages

## Slide 46: Sequence networks representation of generators

## Slide 47: Sequence networks representation of generators
a
b
c
n
Positive-sequence
Negative-sequence
Zero-sequence
Balanced three-phases  decoupled sequence networks

## Slide 48: Positive sequence impedance of a rotating machine
Apply positive sequence currents
Create a flux wave that rotates in the same direction as the rotor
Flux wave is in synchronism with the rotor
Path of positive sequence magnetic flux is mostly through iron
Low reluctance, high impedance
Direction of mechanical rotation

## Slide 49: Negative sequence impedance of a rotating machine
Apply negative sequence currents
Create a flux wave that rotates in the opposite direction as the rotor
Flux cannot penetrate the rotor
Path of negative sequence magnetic path is mostly through the air
High reluctance, low impedance
Direction of mechanical rotation

## Slide 50: Zero sequence impedance of a rotating machine
Apply zero sequence currents
Flux created by all three phases are in phase
Resulting flux cannot penetrate the rotor
Zero sequence magnetic flux path is mostly through the air
High reluctance, low impedance

## Slide 51: Generators sequence impedances
Depending on the time frame considered, is the synchronous, transient, or subtransient impedance
 zero sequence current can flow through a generator only if it is Y-connected and the neutral is connected to ground
Positive-sequence
Negative-sequence
Zero-sequence

## Slide 52: Sequence impedances of lines and cables
Reactance of lines and cables reflects their magnetic field
Depends on the distance and configuration of the conductors
If the phases are arranged symmetrically 

## Slide 53: Sequence impedances of lines and cables
Unequal distance between the phases
 Unequal positive and negative sequence magnetic fields

Need regular transposition to restore balance

## Slide 54: Transposition

## Slide 55: Sequence impedances of lines and cables
Zero-sequence impedance depends on zero-sequence magnetic field
Very different from magnetic fields created by the positive- or negative-sequence currents
 Lines have a much lower zero-sequence impedance

## Slide 56: Sequence impedances of transformers
Ideal transformer:
Primary and secondary currents are in phase
Secondary current must balance the primary current

## Slide 57: Sequence impedances of transformers
Primary and secondary currents must be in balance in each phase
Positive-sequence primary current must be balanced by a positive sequence secondary current
Same for the negative- and zero-sequence currents

## Slide 58: Sequence impedances of transformers
Balancing the primary and secondary positive and negative sequence currents is always possible
Depending on the connection of the primary and secondary windings, this may or may not be possible for the zero-sequence.

## Slide 59: Grounded-Y / Grounded-Y connection
A
B
A
B
A
B
Primary zero-sequence current can be balanced by a secondary zero sequence current. There is thus a path for zero-sequence currents through this transformer.

## Slide 60: Grounded-Y / Ungrounded-Y connection
A
B
A
B
A
B
Primary zero-sequence current cannot be balanced by a secondary zero sequence
current. Therefore, no zero-sequence current can flow in or out of this transformer.

## Slide 61: Grounded-Y / Delta connection
Primary zero-sequence current can be balanced by a circulating zero sequence in the secondary. There is thus a path for zero sequence currents on the grounded-Y side, but not on the delta side.
A
B
A
B
A
B

## Slide 62: Ungrounded-Y / Delta connection
There is no path for a zero-sequence current on the primary side. No zero-sequence current can therefore flow in or out of this transformer.
A
B
A
B
A
B

## Slide 63: Delta / Delta connection
A
B
A
B
A
B
While balanced zero-sequence currents can circulate within the windings, they cannot flow in or out of this transformer.

## Slide 64: Effect of transformer connections on zero-sequence
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B
A
B

## Slide 65: Summary
Variable transformation from phase voltages and currents to positive-, negative-, and zero-sequence voltages and currents
Applying this transformation to balanced three-phase devices results in decoupled positive-, negative-, and zero-sequence models of these devices.
Each device (line, load, generator, transformer) has a positive-, a negative-, and a zero-sequence impedance

## Slide 66: Sequence impedances
Positive-sequence impedance
  Same as impedance of single-phase representation of three-phase circuits
Negative-sequence impedance
  Equal to positive-sequence impedance for components that do not differentiate between the phase sequences
  for passive loads, transformers and transposed lines
  for generators, motors and un-transposed lines

## Slide 67: Sequence impedances
Zero-sequence impedance
  Usually different from and
  Because , is infinite if there is no connection between neutral and ground
  Because primary and secondary currents must be balanced, the connection of a transformer windings affects its zero-sequence model
  Some transformer connections block zero sequence currents

## Slide 68: Building sequence networks
Gather decoupled models of all network devices in terms of symmetrical components
Combine these models according to the topology of the network
 Decoupled positive-, negative-, and zero-sequence networks

## Slide 69: Example 10.8: Sequence networks
A
B
C
E
D
F
 | 0.5 | 0.2 | 0.18
 | 0.33 | 0.15 | 0.15
 | 0.275 | 0.1 | 0.12
 | 0.2 | 0.2 | 0.2
 | 0.167 | 0.167 | 0.167
 | 0.143 | 0.143 | 0.143
 | 0.083 | 0.083 | 0.4
 | 0.103 | 0.103 | 0.6
 | 0.5 | 0.2 | 0.18
 | 0.33 | 0.15 | 0.15
 | 0.275 | 0.1 | 0.12
 | 0.2 | 0.2 | 0.2
 | 0.167 | 0.167 | 0.167
 | 0.143 | 0.143 | 0.143
 | 0.083 | 0.083 | 0.4
 | 0.103 | 0.103 | 0.6
System is assumed unloaded and operating at nominal voltage

## Slide 70: Example 10.8: Positive sequence network
 | 0.5
 | 0.33
 | 0.275
 | 0.2
 | 0.167
 | 0.143
 | 0.083
 | 0.103
 | 0.5
 | 0.33
 | 0.275
 | 0.2
 | 0.167
 | 0.143
 | 0.083
 | 0.103
A
B
C
E
D
F
A
B
C
E
D
F

## Slide 71: Example 10.8: Negative sequence networks
 | 0.2
 | 0.15
 | 0.1
 | 0.2
 | 0.167
 | 0.143
 | 0.083
 | 0.103
 | 0.2
 | 0.15
 | 0.1
 | 0.2
 | 0.167
 | 0.143
 | 0.083
 | 0.103
A
B
C
E
D
F
A
B
C
E
D
F

## Slide 72: Example 10.8: Zero sequence networks
 | 0.18
 | 0.15
 | 0.12
 | 0.2
 | 0.167
 | 0.143
 | 0.4
 | 0.6
 | 0.18
 | 0.15
 | 0.12
 | 0.2
 | 0.167
 | 0.143
 | 0.4
 | 0.6
A
B
C
E
D
F
A
B
C
E
D
F

## Slide 73: Thevenin equivalents of sequence networks
To study balanced faults, we used Thevenin equivalents of the single-phase representation of the network
To study unbalanced faults, we will use Thevenin equivalents of the positive-, negative-, and zero-sequence networks

## Slide 74: Example 10.9: Thevenin equivalents of sequence networks
Zero-sequence Thevenin equivalent at node C:
A
B
C
E
D
F

## Slide 75: Example 10.9: Thevenin equivalents of sequence networks
Positive-sequence Thevenin equivalent at node C:
A
B
C
E
D
F

## Slide 76: Example 10.9: Thevenin equivalents of sequence networks
Negative-sequence Thevenin equivalent at node C:
A
B
C
E
D
F

## Slide 77: Example 10.9: Thevenin equivalents of sequence networks
C
C
C
Negative-sequence Thevenin equivalent:
Positive-sequence Thevenin equivalent:
Zero-sequence Thevenin equivalent:

## Slide 78: Analyzing unbalanced faults

## Slide 79: Analyzing unbalanced faults
c
b
a
System
Postulated location of a fault

## Slide 80: Pre-fault conditions
System is balanced before the fault
  Symmetrical component networks will be coupled only at the point of the fault
Neglect pre-fault load currents
  All voltages are equal to the pre-fault voltage at the point of the fault
Neglect resistances, shunt admittances, rotor saliency, saturation
  Commercial-grade fault calculation programs do not make these assumptions
c
b
a
System

## Slide 81: Pre-fault conditions
c
b
a
System
Thevenin equivalent looking into the
network from node :
Positive sequence
Negative sequence
Zero sequence

## Slide 82: Analyzing balanced faults using symmetrical components
Balanced three-phase fault at node :
c
b
a

## Slide 83: Analyzing balanced faults using symmetrical components
Balanced three-phase fault at node :

## Slide 84: Analyzing balanced faults using symmetrical components
Balanced three-phase fault at node :
A balanced fault creates balanced fault currents
We already knew that, but it is nice to check it using symmetrical components

## Slide 85: Single-line-to-ground fault at node
Pre-fault:
Without loss of generality, assume that the fault is on phase a
c
b
a

## Slide 86: Single-line-to-ground fault at node
A single-line-to-ground fault connects the three sequence networks in series

## Slide 87: Single-line-to-ground fault at node

## Slide 88: Example 10.10: Single-line-to-ground at bus C
A
B
C
E
D
F
SLG

## Slide 89: Example 10.10: Single-line-to-ground at bus C
C
C
C
Positive sequence
Negative sequence
Zero sequence
From Example 10.9:

## Slide 90: Importance of ground connections
A
B
C
E
D
F
Zero sequence circuit with delta-grounded Y:
A
B
C
E
D
F
Zero sequence circuit with delta-Y:
?
!

## Slide 91: Importance of ground connections
Is having a zero fault current a good thing or a bad thing?
  For the protection system to operate, there must be a large enough fault current
  Undetected faults represent a safety hazard because a normal action can then have unexpected consequences

## Slide 92: Line-to-line fault at node
Pre-fault:
Without loss of generality, assume that the fault is between phases b and c
c
b
a

## Slide 93: Line-to-line fault at node
c
b
a

## Slide 94: Line-to-line fault at node

## Slide 95: Example 10.11: Line-to-line (LL) fault
A
B
C
E
D
F
LL
C
Positive sequence
C
Negative sequence
C
Zero sequence
From Example 10.9:
C

## Slide 96: Example 10.11: Line-to-line (LL) fault
A
B
C
E
D
F
LL
C
Positive sequence
C
Negative sequence
From Example 10.9:
C

## Slide 97: Double line-to-line to ground fault at node
Pre-fault:
Without loss of generality, assume that the fault is between phases b and c and ground
a
b
c

## Slide 98: Double line-to-line to ground fault at node
a
b
c

## Slide 99: Double line-to-line to ground fault at node
What connection of the sequence networks models:

## Slide 100: Double line-to-line to ground fault at node

## Slide 101: Double line-to-line to ground fault at node

## Slide 102: Example 10.12
From Example 10.9:

## Slide 103: Unbalanced fault calculations in large networks

## Slide 104: Unbalanced faults in large networks
Small networks  calculate Thevenin equivalents by hand
Large networks  need systematic scalable technique
Build the admittance matrices of the decoupled, pre-fault positive-, negative, and zero-sequence networks
Invert these matrices to obtain the corresponding impedance matrices
The diagonal elements of these impedance matrices are the Thevenin equivalent impedances of the sequence networks
Connect these Thevenin equivalent impedances as before to calculate the fault currents

## Slide 105: Unbalanced faults at node in a large network
a
b
c

## Slide 106: Single-line-to-ground fault at node

## Slide 107: Example 10.13
A
B
C
E
D
F
Single-line-to-ground fault at every node of this network?

## Slide 108: Example 10.13: Impedance diagrams
A
B
C
E
D
F
A
B
C
E
D
F
A
B
C
E
D
F
Positive sequence
Negative sequence
Zero sequence

## Slide 109: Example 10.13: Positive-sequence admittances
-
A
B
C
E
D
F

## Slide 110: Example 10.13: Negative-sequence admittances
A
B
C
E
D
F

## Slide 111: Example 10.13: Zero-sequence admittances
A
B
C
E
D
F

## Slide 112: Example 10.13: Impedance matrices
Positive sequence
Negative sequence
Zero sequence

## Slide 113: Example 10.13: SLG and LLL faults at all buses
Node |  |  |  | Single-phase fault | Three-phase fault
A | 0.18 | 0.257 | 0.137 | 5.226 | 3.891
B | 0.2 | 0.224 | 0.149 | 5.236 | 4.464
C | 0.6 | 0.187 | 0.116 | 3.322 | 5.348
D | 1.202 | 0.214 | 0.144 | 1.923 | 4.673
E | 1.500 | 0.206 | 0.111 | 1.651 | 4.854
F | 0.120 | 0.175 | 0.079 | 8.021 | 5.714
Node |  |  |  | Single-phase fault | Three-phase fault
A | 0.18 | 0.257 | 0.137 | 5.226 | 3.891
B | 0.2 | 0.224 | 0.149 | 5.236 | 4.464
C | 0.6 | 0.187 | 0.116 | 3.322 | 5.348
D | 1.202 | 0.214 | 0.144 | 1.923 | 4.673
E | 1.500 | 0.206 | 0.111 | 1.651 | 4.854
F | 0.120 | 0.175 | 0.079 | 8.021 | 5.714
A
B
C
E
D
F