## Slide 1: Chapter 12: Introduction to Electricity Markets

## Slide 2: Traditional electric utility model
Monopoly
  Only supplier of electricity in a region
    “service territory”
  Consumer does not have a choice of supplier
Vertically integrated
  A single organization performs all the technical and business functions
Generation
Transmission
Distribution
Retail
Consumer

## Slide 3: Why vertical integration?
Used to be considered more efficient
Issues:
  Lack of transparency
  Poor internal communication in very large organizations
Generation
Transmission
Distribution
Retail
Consumer

## Slide 4: Why monopolies?
Building a power system is expensive
Building competing transmission and distribution networks does not make sense
  “Natural Monopoly”
Until recently having several companies “share” a power system was too complicated
Monopoly can be:
  Private (investor-owned utility)
  Public (municipal, utility district, national)
Size of service territories varies

## Slide 5: Example 1: Seattle City Light
Owned by the City of Seattle
Public monopoly

## Slide 6: Example 2: Puget Sound Energy
Investor-owned utility
Private monopoly

## Slide 7: Example 3: BC Hydro
Owned by the Province of British Columbia
Public monopoly

## Slide 8: Possible variants on vertical integration
One entity handles generation and transmission
Other entities handle distribution and retail
Example from the Pacific Northwest:
  Generation and transmission:
    Bonneville Power Administration (BPA)
  Distribution and retail
    Municipal utilities
    Rural electricity cooperatives
    Public utility districts
Example of hybrid:
  Seattle City Light is vertically integrated but buys power from BPA
Generation
Transmission
Distribution
Retail
Consumer

## Slide 9: Types of utilities in the United States
Type |  | Number
Investor-owned Companies |  | 265
Municipal Systems |  | 1,818
Public Power Districts |  | 75
State |  | 68
County Systems |  | 5
Rural Electric Co-Ops |  | 922
U.S. Government |  | 37

## Slide 10: Regulation
A private monopoly could abuse its position
  It must be regulated by the government
Government-owned utilities operate for the public good
  No need for outside regulation
  Elect new representatives if we are not satisfied

## Slide 11: The “Regulatory Compact”
Agreement between an Investor-Owned Utility (IOU) and a government
IOU receives the right to be the monopoly supplier over a certain territory
IOU accepts that its rates (i.e., what it can charge consumers) will be determined by a regulator
Example: the Washington Utilities and Transportation Commission regulates Puget Sound Energy

## Slide 12: Rate of return regulation
Regulator sets the rates so that the IOU can:
  Recover its operating cost (fuel, personnel, etc…)
  Recover its investment costs (plants, lines, etc…)
  Pay a fair rate of return to its investors
A monopoly utility is a low-risk investment
  No competition
  A bankrupt utility is in nobody’s interest
The rate of return can therefore be low compared to other investments

## Slide 13: Monopolies are inefficient
No competition
No need to be efficient to survive
No incentive to be efficient:
  Utility earns more if it invests more
  High costs passed on to consumers as high prices of electricity
Rates are “higher than they should be”

## Slide 14: Could the regulators do better?
Regulation is difficult
Little basis for comparison
  Each regulator oversees a small number of utilities
  Each utility has a territory with different characteristics
Difficult to evaluate the utilities’ decisions
  Regulator does not have as much staff as the utility
  “Information imbalance”

## Slide 15: Problems with public monopolies
A good government will run its utilities in an efficient and far-sighted manner
This is not always the case
Conflicts can arise between the objectives of the government and the objectives of the utility
Government monopolies are inefficient too!

## Slide 16: Things bad governments do…
Keep rates low to please the voters
  Utility does not have enough money for investments
Keep rates high and use the surplus money for other programs
  This is an economically inefficient form of taxation
  Discourages the consumption of electricity
Force the utility to make unnecessary investments to create jobs

## Slide 17: Why introduce electricity markets?
Market competition forces companies to make better decisions
  Be more efficient
  Introduce innovations
Over time this should lead to lower costs to the consumers

## Slide 18: Unbundling
Building competing transmission and distribution networks does not make sense
  They are “natural monopolies”
  Environmental impact
Networks must remain monopolies
Need to separate the monopoly and non-monopoly activities
“Unbundling” of the vertically integrated utilities

## Slide 19: Where can we introduce competition?
Between companies that generate electrical energy
  Wholesale market
Between companies that buy electrical energy on the wholesale market and sell it to consumers
  Retail market

## Slide 20: Wholesale electricity markets in the US

## Slide 21: Fundamentals of Markets

## Slide 22: What are markets?
Locations where buyers and sellers meet to trade goods
  Physical or virtual
Venue to execute a transaction
Mechanism for buyers and sellers to collect information
  What commodity is being traded?
  How much is being offered?
  How big is the demand?
Gauge demand and supply for each good
Settle at an economically efficient market equilibrium

## Slide 23: Example: market for T-shirts
Supply side
  Manufacturing T-shirts
  Selling T-shirts
  Supply function
Demand side
  How many T-shirts shall I buy?
  How many T-shirts will people buy?
  Demand function
Market equilibrium
  Intersection of supply and demand functions

## Slide 24: Manufacturer’s perspective
Manufacturer’s cost function:
  How much does it cost to produce T-shirts?
  Fixed costs
    Building the factory, buying machinery
    Not a function of
  Variable costs
    Raw materials, labor
Marginal cost function:
  Ignores the fixed costs
  Cost of producing one more T-shirt

## Slide 25: Typical marginal cost function
Increases with due to extra costs
  Overtime pay for workers
  Additional maintenance
($/T-shirt)
(T-shirts)

## Slide 26: Optimal production level
If each T-shirt can be sold for dollars, how many should the manufacturer sell?
Selling a T-shirt that costs less to manufacture than result in a profit
Selling a T-shirt that costs more to manufacture than result in a loss
maximizes the overall profit
($/T-shirt)
(T-shirts)

## Slide 27: Inverse supply function
Each supplier comes to the market with its own marginal cost function
Each of these function shows how much it is willing to sell as a function of the price
The inverse supply function is the aggregation of each supplier’s marginal cost function

## Slide 28: Inverse supply function
Inverse supply function
  Price at which the suppliers will sell a quantity
Supply function
  Quantity that the suppliers will sell at a price
Describes the supply side of the market: the aggregated willingness to sell

## Slide 29: Consumer’s perspective
Shall I buy a T-shirt?
What factors do I consider when making that decision?
  How expensive is the T-shirt?
  How much enjoyment/utility will I get from this T-shirt?
  What else could I buy with this money?
Different people  different decisions
Depending on the price:
  Some people will buy a T-shirt, other people will not
  Depends on their marginal utility
Marginal utility > price  buy
Marginal utility < price  don’t buy

## Slide 30: Demand and inverse demand functions
Aggregation of the marginal utility of all consumers
Demand function
  Quantity that consumers will buy as a function of the price
Inverse demand function
  Price at which consumers will buy a quantity
Describes the demand side of the market: the aggregated willingness to buy

## Slide 31: Market equilibrium
Demand function
Supply function
Willingness to sell meets willingness to buy
Intersection of the demand and supply functions: ,
At , as a group consumers will not:
  Buy more than because the utility of the extra quantity would be less than the price
  Buy less than because they could get more utility for that price
At , as a group suppliers will not:
  Sell more than because they would sell for less than the marginal cost of production
  Sell less than because they would forgo a profit opportunity

## Slide 32: Market equilibrium
Demand function
Supply function
At the market equilibrium:
  Market price = suppliers’ marginal cost
  Market price = consumers’ marginal utility
  Marginal cost = marginal utility
“Marginal pricing”
Valid only if there is perfect competition
Perfect competition requires
  Many buyers
  Many sellers
If some buyers or sellers have too big a market share, they have market power and can influence the market price

## Slide 33: Example 12.1: Market equilibrium
Inverse supply function $/T-shirt
Inverse demand function $/T-shirt
Intersection of these two functions:
T-shirts
$/T-shirt

## Slide 34: Structure of a wholesale electricity market
Wholesale Market and
Transmission Network
TSO
Genco 1
Genco 2
Genco N
LSE A
LSE B
LSE M
Consumers
Consumers
Consumers
Gencos
  Generating companies
  Own and operate power plants
  Sell energy on the wholesale market
LSEs
  Load Serving Entities
  Buy energy on the wholesale market
  Sell this energy to the consumers in their monopoly service area

## Slide 35: Trading vs. physics
Commodity being traded is energy (MWh)
Power system delivers power (MW) on a continuous basis
Define trading periods
  Typically, one hour, 15 minutes, 5 minutes
  Trading assumes constant delivery of power over this trading period
Example
  Genco sells 20 MW from 2:15 to 2:30 pm
  It has sold 5 MWh during this trading period

## Slide 36: Trading vs. physics
All MWs get merged in the transmission network
Cannot direct energy sold by a given Genco to a given LSE
All MW are the same (“fungible”)
Keep track of the transactions using meters at both ends

## Slide 37: Types of electricity trading
Bilateral trading
  Conventional form of trading
  Buyer and seller agree on price and quantity without intermediary
  However, TSO may limit trades to make sure that they are compatible with the reliable operation of the system
  Common form of trading in European markets and the Pacific Northwest
Centralized trading
  Specific to electricity markets
  TSO takes on the role of market operator
  Common form of trading in North America:
    PJM, CAISO, ISO-NE, ERCOT, MISO, NYISO, SPP

## Slide 38: Centralized trading: supply side
Gencos submit offers to sell for each trading period
Quantity/price pairs
  Example: 100 MW at 23 $/MWh
TSO ranks the offers in increasing order of price
 Creates a supply curve

## Slide 39: Example: supply curve in a centralized market
Offers to Sell |  | 
Genco | Quantity (MW) | Price ($/MWh)
A | 100 | 0.00
 | 100 | 30.00
 | 50 | 50.00
B | 100 | 15.00
 | 100 | 40.00
 | 50 | 90.00
C | 100 | 0.00
 | 100 | 25.00
 | 50 | 65.00
D | 50 | 10.00
 | 50 | 20.00
 | 100 | 35.00
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
MW
$/MWh

## Slide 40: Centralized trading: demand side
LSEs submit bids to buy for each trading period
Quantity/price pairs
  Example: 100 MW at 50 $/MWh
TSO ranks the offers in decreasing order of price
 Creates a demand curve

## Slide 41: Example: demand curve in a centralized market
Bids to Buy |  | 
LSE | Quantity (MW) | Price ($/MWh)
P | 100 | 200.00
 | 100 | 175.00
 | 50 | 150.00
Q | 100 | 200.00
 | 50 | 175.00
 | 50 | 10.00
R | 100 | 200.00
 | 100 | 175.00
 | 50 | 15.00
S | 100 | 200.00
 | 50 | 175.00
 | 50 | 5.00
Chart: 
| 0 | 100 | 100 | 200 | 200 | 300 | 300 | 400 | 400 | 500 | 500 | 600 | 600 | 650 | 650 | 700 | 700 | 750 | 750 | 800 | 800 | 850 | 850 | 900
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh

## Slide 42: Centralized trading: clearing
TSO identifies the intersection of the supply and demand curves
Determines the market clearing price and the quantity transacted
Genco offers with price less than the market price are accepted
LSE bids with price higher than the market price are accepted
Other bids and offers are rejected
Gencos and LSEs whose bids and offers are accepted are committed to inject or extract from the system the corresponding amount of power during this trading period

## Slide 43: Example: centralized market clearing
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh
Accepted bids
Accepted offers
Market price: 40 $/MWh
Quantity traded: 750 MW

## Slide 44: Centralized trading: settlement
All energy traded is bought/sold at the market price
All Gencos collect the market price for the accepted offers
All LSEs pay the market price for the accepted bids
Market price reflects the marginal cost of generation

## Slide 45: Example: centralized market settlement
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh
Genco | Accepted offers = quantity sold | Revenue
A | 100+100 = 200MW | 200 x 40 = $8,000
B | 100+50 = 150 MW | 150 x 40 = $6,000
C | 100 + 100 = 200 MW | 200 x 40 = $8,000
D | 50 + 50 + 100 = 200 MW | 200 x 40 = $8,000
Total | 750 MW | $30,000

## Slide 46: Example: centralized market settlement
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh
LSE | Accepted bids = quantity purchased | Expenditure
P | 100+100+50 = 250MW | 250 x 40 = $10,000
Q | 100+50 = 150 MW | 150 x 40 = $6,000
R | 100 + 100 = 200 MW | 200 x 40 = $8,000
S | 100 + 50 = 150 MW | 150 x 40 = $6,000
Total | 750 MW | $30,000

## Slide 47: Bidding in a centralized market
Sufficiently large number of market participant  perfect competition
Gencos optimal bidding strategy: bid marginal cost of generation
Offer accepted at market price
  Profit equal to the difference between the market price and the offer price
Offer rejected
  Genco avoids producing at a loss
Offer at higher than marginal cost
   profitable offer risks being rejected
Offer at lower than marginal cost
   non-profitable offer risks being accepted

## Slide 48: Bidding in centralized markets
Less competitive market
  Example: demand is high and most of the available generation capacity is needed
Gencos can offer at substantially more than their marginal cost
Try to drive up the market price to recover their fixed costs
Generators that mostly care about producing energy
  Nuclear units that cannot shutdown if their bid is not accepted
  Renewable generation whose marginal cost is close to zero
Offer at zero
Let the offers of the other gencos set the market price

## Slide 49: Example: extreme offers
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh
Less competitive generators that run only when the
demand is high
Generators that bid zero to make sure that they get to produce. Typically nukes and renewables.

## Slide 50: Example: demand side bidding
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Demand Curve | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 150 | 150 | 15 | 15 | 10 | 10 | 5 | 5
MW
$/MWh
Some consumers are flexible and willing to curtail or shift their load
if the price is too high
Since loads tend to be inflexible, most demand side will bid high to ensure
that they get selected
Some loads are highly flexible and wait for a very low price e.g., battery charging

## Slide 51: Replacing the demand curve by a load forecast
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Hour 10 | 0 | 160
MW
$/MWh
Some markets neglect the effect of the price on the demand
The demand curve is then replaced by a vertical line at the forecast value of the load

## Slide 52: Variation of the load over a day
Chart: Hour
| 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 10.5 | 11 | 11.5 | 12 | 12.5 | 13 | 13.5 | 14 | 14.5 | 15 | 15.5 | 16 | 16.5 | 17 | 17.5 | 18 | 18.5 | 19 | 19.5 | 20 | 20.5 | 21 | 21.5 | 22 | 22.5 | 23 | 23.5 | 24
Thursday, December 15, 2022 | 28752 | 29425 | 29286 | 28494 | 28092 | 28210 | 27990 | 27807 | 27374 | 27392 | 27710 | 28778 | 31559 | 34212 | 37050 | 39050 | 41100 | 42138 | 43035 | 43097 | 42634 | 42198 | 41847 | 41265 | 41170 | 40987 | 40726 | 40666 | 40864 | 41044 | 41741 | 42920 | 44787 | 45700 | 46147 | 45964 | 45777 | 45173 | 44414 | 43742 | 42353 | 41143 | 39989 | 38233 | 35854 | 34070 | 31723 | 30503

## Slide 53: Discretized variation of the load over a day
Chart: Hour
| 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12 | 13 | 13 | 14 | 14 | 15 | 15 | 16 | 16 | 17 | 17 | 18 | 18 | 19 | 19 | 20 | 20 | 21 | 21 | 22 | 22 | 23 | 23 | 24
 | 74780 | 74780 | 70985 | 70985 | 68020 | 68020 | 66545 | 66545 | 66102 | 66102 | 67529 | 67529 | 70522 | 70522 | 73820 | 73820 | 77746 | 77746 | 82226 | 82226 | 87228 | 87228 | 91579 | 91579 | 95493 | 95493 | 99325 | 99325 | 101421 | 101421 | 102937 | 102937 | 103834 | 103834 | 104313 | 104313 | 102699 | 102699 | 98764 | 98764 | 94966 | 94966 | 92594 | 92594 | 86739 | 86739 | 80399 | 80399
Assume that the load is constant over each one-hour trading period

## Slide 54: Market clearing for each hour
$/MWh
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Hour 10 | 0 | 160
Hour 19 | 0 | 160
Hour 5 | 0 | 160
Hour 22 | 0 | 160
MW
Replace the demand curve by the load forecast for each trading hour
Offers from the Gencos are valid for the whole day
Clear the market for each hour
Market price increases with the load

## Slide 55: Example: time-varying market prices
$/MWh
Chart: 
| 0 | 100 | 100 | 200 | 200 | 250 | 250 | 350 | 350 | 400 | 400 | 500 | 500 | 600 | 600 | 700 | 700 | 800 | 800 | 850 | 850 | 900 | 900 | 950
Supply Curve | 0 | 0 | 0 | 0 | 10 | 10 | 15 | 15 | 20 | 20 | 25 | 25 | 30 | 30 | 35 | 35 | 40 | 40 | 50 | 50 | 65 | 65 | 90 | 90
Hour 10 | 0 | 160
Hour 19 | 0 | 160
Hour 5 | 0 | 160
Hour 22 | 0 | 160
MW
Hour | 1 | 2 | 3 | 4 | 5 | 6
Load | 390 | 375 | 300 | 275 | 225 | 300
Hour | 13 | 14 | 15 | 16 | 17 | 18
Load | 810 | 775 | 750 | 750 | 825 | 875
Hour | 7 | 8 | 9 | 10 | 11 | 12
Load | 425 | 550 | 650 | 750 | 775 | 825
Hour | 19 | 20 | 21 | 22 | 23 | 24
Load | 925 | 825 | 750 | 650 | 450 | 425

## Slide 56: Example: time-varying market prices
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
 | 20 | 20 | 15 | 15 | 10 | 15 | 25 | 30 | 35 | 40 | 40 | 50 | 50 | 40 | 40 | 40 | 50 | 65 | 90 | 50 | 40 | 35 | 25 | 25
$/MWh
Hour
Hour | 1 | 2 | 3 | 4 | 5 | 6
Load | 390 | 375 | 300 | 275 | 225 | 300
Hour | 13 | 14 | 15 | 16 | 17 | 18
Load | 810 | 775 | 750 | 750 | 825 | 875
Hour | 7 | 8 | 9 | 10 | 11 | 12
Load | 425 | 550 | 650 | 750 | 775 | 825
Hour | 19 | 20 | 21 | 22 | 23 | 24
Load | 925 | 825 | 750 | 650 | 450 | 425

## Slide 57: Example: Price-duration curve for ISO-NE in 2022
Chart: 
$/MWh
Percentage of hours

## Slide 58: Effect of transmission capacity limits
Assumption so far: supply and demand curves reflect the bids and offers of all the Gencos and LSEs
Market price applied uniformly to all transactions
Problem: pattern of generation and demand may result in violations of operating limits of the transmission network
Must modify the results of the market clearing to remove these violations

## Slide 59: Locational marginal pricing
Modify the market clearing to respect transmission constraints
 Reject some cheaper offers in the “wrong” place
 Replace them with more expensive offers in the “right” place
Market price depends on the location
Locational marginal pricing

## Slide 60: Example: locational marginal pricing
A
D
B
C
Western
Eastern
525 MW
225 MW
Same generators and same load as in the previous centralized market example
Generators and loads separated in two regions connected by a single transmission line

## Slide 61: Example: locational marginal pricing
Market clearing from previous example
Ignores transmission network
Violates the 50 MW rating of the transmission line
A
D
B
C
Western
Eastern
200 MW
200 MW
150 MW
200 MW
525 MW
225 MW
175 MW

## Slide 62: Example: locational marginal pricing
A
D
B
C
Western
Eastern
200 MW
200 MW
150 MW
200 MW
525 MW
225 MW
175 MW
A
D
B
C
Western
Eastern
525 MW
225 MW
50 MW
To remove the overload:
  Reduce the generation in the Western region by 125 MW
  Increase the generation in the Eastern region by 125 MW
A & D compete to supply 275 MW
B & C compete to supply 475 MW

## Slide 63: Example: locational marginal pricing
A
D
B
C
Western
Eastern
200 MW
200 MW
150 MW
200 MW
525 MW
225 MW
175 MW
A
D
B
C
Western
Eastern
175 MW
100 MW
225 MW
250 MW
525 MW
225 MW
50 MW
To remove the overload:
  Reduce the generation in the Western region by 125 MW
  Increase the generation in the Eastern region by 125 MW

## Slide 64: Example: locational marginal pricing
Chart: 
| 0 | 100 | 100 | 150 | 150 | 200 | 200 | 300 | 300 | 400 | 400 | 450
 | 0 | 0 | 10 | 10 | 20 | 20 | 30 | 30 | 35 | 35 | 50 | 50
 | 0 | 100
MW
$/MWh
Western region
Chart: 
| 0 | 100 | 100 | 200 | 200 | 300 | 300 | 400 | 400 | 450 | 450 | 500
Eastern Region | 0 | 0 | 15 | 15 | 25 | 25 | 40 | 40 | 65 | 65 | 90 | 90
 | 0 | 100
$/MWh
MW
Eastern region
Market price in the Western region: 30 $/MWh
Market price in the Eastern region: 90 $/MWh

## Slide 65: Locational marginal pricing (LMP)
Generators are paid the LMP at the bus where they are connected
LSEs pay the LMP at the bus where they are connected
Prices will vary depending on which constraints are binding
Example with two zones and one transmission line
   Easy to calculate the locational marginal prices
Larger, meshed transmission networks
  Solve a linearized optimal power flow
   Prices are the Lagrange multipliers of the nodal power balance constraints

## Slide 66: Examples of locational marginal prices
CAISO
ERCOT
MISO
ISO-NE
NYISO
SPP
PJM

## Slide 67: Day-ahead market
Benefits of unit commitment:
  Amortize startup costs over enough trading period
  Satisfy operating constraints on the generating units
    Minimum up- and down-time, ramp rates
Clear the market one day-ahead using a unit commitment

## Slide 68: Day-ahead market based on unit commitment
Clear the market on day D-1 for day D
Gencos submit offers for each unit
Offers are valid for all trading periods of day D
Offers must include:
  Price/quantity pairs
  Startup costs
  Operating constraints
LSEs submit their demand curve for each trading period
TSO runs a unit commitment combined with an OPF
  Offer prices treated like the marginal costs in a conventional UC
Offer price of the most expensive unit scheduled at each trading period sets the market price

## Slide 69: Problem with day-ahead market
Things never turn out as expected…
  Error in the load forecast
  Some generators do not produce what they were scheduled to produce
    Outages of large units, wind and solar generation
How can we maintain the load/generation balance?
Procure some reserve on the day-ahead market
  Provide insurance against outages of large units
Implement a balancing market
  Economically efficient way of handling the imbalances

## Slide 70: Balancing market
5-minute or 15-minute trading period
Operate shortly before real-time
Bids and offers:
  Gencos with flexible generating units submit offers
  Flexible loads
  Storage
TSO determines which bids and offers are needed to keep the system in balance
Most expensive bid or offer sets the real-time price

## Slide 71: Two-settlement market
Day-ahead transactions
  Settled at the day-ahead price
  As if powers produced and consumed were exactly as scheduled
Imbalances settled at the real-time price
  Generator produced less than scheduled  pays for the difference at the real-time price
  Load consumes more than scheduled  pays for the difference at the real-time price
  Generator produced more than scheduled  paid for the difference at the real-time price
  Load consumes less than scheduled  paid for the difference at the real-time price

## Slide 72: Example: Two-settlement market
Day-ahead market
June 11, hourly trading period 8
Bus Patagonia
Day-ahead price: 23 $/MWh
Genco Blue scheduled to inject 100 MW at that bus
LSE Orange scheduled to extract 50 MW at that bus
Real-time market
June 11, hourly trading period 8
Bus Patagonia
What they actually did:
Trading interval | Blue (MW) | Orange (MW) | RT price ($/MWh)
7:00 – 7:15 | 92 | 50 | 25.00
7:15 – 7:30 | 104 | 46 | 20.00
7:30 – 7:45 | 100 | 54 | 23.00
7:45 – 8:00 | 20 | 42 | 30.00

## Slide 73: Example: Two-settlement market
Settlement for Genco Blue:
Trading period | MWh | Price | Amount
DA: 7:00 – 8:00 | 100 | 23.00 | $2300
RT: 7:00 – 7:15 |  | 25.00 | ($50)
RT: 7:15 – 7:30 |  | 20.00 | $20
RT: 7:30 – 7:45 |  | 23.00 | $0
RT: 7:45 – 8:00 |  | 30.00 | ($600)
 |  | Total: | $1670
Trading period | MWh | Price | Amount
DA: 7:00 – 8:00 | 100 | 23.00 | $2300
RT: 7:00 – 7:15 |  | 25.00 | ($50)
RT: 7:15 – 7:30 |  | 20.00 | $20
RT: 7:30 – 7:45 |  | 23.00 | $0
RT: 7:45 – 8:00 |  | 30.00 | ($600)
 |  | Total: | $1670
The factors ¼ convert MW imbalances over a 15-minute period to a MWh value.

## Slide 74: Example: Two-settlement market
Trading period | MWh | Price | Amount
DA: 7:00 – 8:00 | 50 | 23.00 | ($1150)
RT: 7:00 – 7:15 |  | 25.00 | $0
RT: 7:15 – 7:30 |  | 20.00 | $20
RT: 7:30 – 7:45 |  | 23.00 | ($23)
RT: 7:45 – 8:00 |  | 30.00 | $60
 |  | Total: | ($1093)
Trading period | MWh | Price | Amount
DA: 7:00 – 8:00 | 50 | 23.00 | ($1150)
RT: 7:00 – 7:15 |  | 25.00 | $0
RT: 7:15 – 7:30 |  | 20.00 | $20
RT: 7:30 – 7:45 |  | 23.00 | ($23)
RT: 7:45 – 8:00 |  | 30.00 | $60
 |  | Total: | ($1093)
Settlement for LSE Orange:
The factors ¼ convert MW imbalances over a 15-minute period to a MWh value.

## Slide 75: Ancillary services
TSO responsible for maintaining the stability of the system
Needs resources to do that
In an unbundled system, the TSO does not own these resources
These resources are owned by market participants
These market participants expect to be paid for these resources
 market for ancillary services

## Slide 76: Ancillary services
Contingency reserve
  Compensate providers for the opportunity cost of not providing energy
  Opportunity for batteries
Frequency control
  Constant minor adjustments to power injections/extractions
  Zero energy on average
  Another opportunity for batteries
Reactive power
  Providing reactive power causes losses and reduces opportunity to provide active power
Black start capability
  Need to be paid to be available

## Slide 77: Retail market
Wholesale Market and
Transmission Network
TSO
Genco 1
Genco 2
Genco N
Retailer A
Retailer B
Retailer M
Consumer
Consumer
Consumer
Retail Market and
Distribution Networks
Discos